## Programming Form
ISKRA MT174 Custom Programming Form
Please complete grey shaded parts of the form, as applicable :
Name : | [8 empty] | Direct Connect | 1
Company : | [8 empty] | CT Connected | 2
Phone : | [8 empty] | Direct Connect | 1
Email : | [8 empty] | CT Connected | 2
Meter Type : | Direct Connect
CT (Primary/Secondary) e.g. 100/5 : |  | N/A
VT (Primary/Secondary) e.g. 3300/110 : |  | N/A
Parameters Displayed on the Meter
| Auto Scroll | Manual Scroll |  | Auto Scroll | Manual Scroll |  | Auto Scroll | Manual Scroll
Active Energy Import (kWh) |  |  | Line Current (I) |  |  | Power Factor (PF)
Active Power (W) |  |  | Line Reactive Power (kVAr) |  |  | Reactive Energy (kVArh)
Apparent Energy (kVAh) |  |  | Line to Neutral Voltage (V) |  |  | Frequency (Hz)
Apparent Power (VA) |  |  | Maximum Current (I) |  |  | Line Active Power (kW)
Voltage (V) |  |  | Maximum Voltage (V) |  |  | Reactive Power (VAr
Current (I) |  |  | Active Energy Export (kWh)
Maximum Demand
MD is recorded over a period (e.g. 5 mins) and the highest MD period in a cycle (e.g. 1 mth) is committed to the meters memory. The time, date and value of the maximum demand are recorded for the last 9 cycles. | [5 empty] | Period (minutes) Maximum Demand is recorded over |  |  | 5 | Day
[6 empty] | Maximum Demand Cycle length |  |  | 10 | Week
[9 empty] | 15 | Month
Billing | [8 empty] | 30 | Year
The active energy import (or export) kWh is recorded over a cylcle (e.g. 1 month) and is committed to the meters memory. The value of the active energy are recorded for the last 9 cycles. | [5 empty] | Billing Cycle Length |  |  | 45
60
Dual Tariff
Rate 1 | Start Time: |  | End Time:
Rate 2 | Start Time: |  | End Time:
N.B. Up to 4 rates can be programmed on to this meter, for more complex multi-rate applications then please get in contact.
Pulsed Outputs
Pulse Output 1 |  | Pulse Rate | 20 | imp/kWh | Pulse length |  | ms |  | Imported Active Energy
Pulse Output 2 |  | Pulse Rate |  | imp/kWh | Pulse length |  | ms |  | Exported Active Energy
Additional Settings/Info | [8 empty] | 10 | 10
[9 empty] | 20 | 20
[9 empty] | 25 | 30
[9 empty] | 50 | 40
[9 empty] | 100 | 50
[9 empty] | 200 | 60
Please get in contact if you require assistance for additional options not covered by this programming form. | [8 empty] | 250 | 80
[9 empty] | 500 | 100
Web: www.spwales.com ¦ Email: sales@spwales.com ¦ Phone: 01803 295430 ¦ Fax: 01803 212819 While Stephen P Wales Ltd has made every reasonable effort to ensure the accuracy of this information, Stephen P Wales Ltd does not guarantee that it is error-free, nor does Stephen P Wales Ltd make any other representation, warranty or guarantee that the information is accurate, correct, reliable or current. Stephen P Wales Ltd reserves the right to make any adjustments to the information contained herein at any time without notice. | [8 empty] | 1000